Annual Drinking Water Quality Report for 2017

Village of Wellsburg Water Department

3663 Sixth Street	 Wellsburg NY   14894

Public Water Supply ID# NY0701010

To comply with State regulations, the Village of Wellsburg will be annually issuing a report describing the quality of your drinking water.  The purpose of this report is to raise your understanding of drinking water and awareness of the need to protect our drinking water sources.  Last year, your tap water met all State drinking water health standards.  This report provides an overview of last year's water quality.  Included are details about where your water comes from, what it contains, and how it compares to State standards.

If you have any questions about this report or concerning your drinking water, please contact our licensed water system operator, Mike Steck, at (607) 565-2594, or Mac Coles, Village Mayor, (607) 271-9129.  If you wish to learn more, please attend any of our regularly scheduled Village Board meetings.  The meetings are held at 7:00 p.m. the second Monday of each month at the Ashland Town Hall.

Where does our water come from?

In general, the sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and can pick up substances resulting from the presence of animals or from human activities.  Contaminants that may be present in source water include: microbial contaminants; inorganic contaminants; pesticides and herbicides; organic chemical contaminants; and radioactive contaminants.  In order to ensure that tap water is safe to drink, the State and the EPA prescribe regulations, which limit the amount of certain contaminants in water provided by public water systems.  The State Health Department's and the FDA's regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

We purchase our water from the Elmira Water Board.  The water is a blend of river, lake and well water that is treated and filtered. Elmira is one of the many drinking water systems in New York State that provides drinking water with a controlled, low level of fluoride for consumer dental health protection. Fluoride is added to your water by the Elmira Water Board before it is delivered to us.  According to the United States Centers for Disease Control, fluoride is very effective in preventing cavities when present in drinking water at a properly controlled level. To ensure that the fluoride supplement in your water provides optimal dental protection, the State Department of Health requires that the Elmira Water Board monitor fluoride levels on a daily basis.  During 2017, testing showed fluoride levels were within 0.2 mg/L of the 0.8 mg/L target 100% of the time.

Elmira also adds phosphate and controls the alkalinity (pH) in the finished water to prevent corrosion of household plumbing.  The goal is to limit the amount of lead that can be leached from residential piping that contains soldered or brass fittings.

Our water system serves about 630 people through 250 service connections.  During 2017, our system did not experience any shortage of our source water.

Source Water Assessment:

The NYS DOH has completed a source water assessment for the Elmira Water Board, based on available information. Possible and actual threats to multiple drinking water sources were evaluated. The state source water assessment includes a susceptibility rating based on the risk posed by each potential source of contamination and how easily those contaminants can move about. The susceptibility rating is an estimate of the potential for contamination of the source water, it does not mean that the water delivered to consumers is, or will become, contaminated. Contaminants that have been detected are report below. The source water assessments provide resource managers with additional information for protecting source waters into the future.

The assessment found an elevated susceptibility to contamination for the surface water sources, the Chemung River and Hoffman Reservoir. The amount of agricultural lands in the assessment area results in elevated potential for protozoa and pesticides contamination. While there are some facilities present, permitted discharges do not likely represent an important threat to source water quality based on their density in the assessment area. However, it appears that the total amount of wastewater discharged to surface water in this assessment area is high enough to further raise the potential for contamination (particularly for protozoa). There are no noteworthy contamination threats associated with other discrete contaminant sources. Finally, it should be noted that relatively high flow velocities make river and reservoir drinking water supplies highly sensitive to existing and new sources of microbial contamination.  The assessment of the five active wells found them to have a medium-high to high susceptibility to microbials, nitrates, industrial solvents, and other industrial contaminants.  These ratings are due primarily to the close proximity of industrial/commercial facilities that discharge wastewater into the environment and low intensity residential activities in the assessment area.  Please note that water from all the sources is blended and treated at the filtration plant to provide disinfection and to remove contaminants. There are also wellhead protection rules in place for the wells, and watershed protection rules for the Hoffman Reservoir.  These rules give legal authority to forbid activities and discharges that could cause gross contamination in these sources.  A copy of this assessment, including a map of the assessment area, can be obtained by contacting the Chemung County Health Department.

Are there contaminants in our drinking water?

As the State regulations require, we routinely test your drinking water for contaminants that can sometimes get into the water after we buy it from Elmira.  These contaminants include: total coliform, asbestos, lead and copper, and disinfection byproducts called Total Trihalomethanes and Haloacetic Acids.  Elmira tests the water for additional contaminants at their treatment plant, including turbidity, inorganic compounds, nitrate, nitrite, volatile organic compounds, synthetic organic compounds and naturally occurring radioactive contaminants.  The table below shows the most recent test results for compounds detected in your drinking water.

It should be noted that all drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPA's Safe Drinking Water Hotline (800-426-4791) or the Chemung County Health Department at 737-2019.

Lead Educational Statement

If present, elevated levels of lead can cause serious health problems, especially for pregnant women, infants, and young children. It is possible that lead levels at your home may be higher than at other homes in the community as a result of materials used in your home’s plumbing. Wellsburg is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline (1-800-426-4791) or at http://www.epa.gov/safewater/lead.

Contaminants Detected during 2017 (or most recent test)

New York State allows us to test for some contaminants less than once per year because the concentrations of these contaminants do not change frequently.  For this reason some of our data, though representative, is more than one year old.

Definitions used in the table:

| Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible. (MRDL, the Maximum Residual Disinfectant Level, applies to chlorine residual) | Milligrams per liter (mg/L): Corresponds to one part of liquid in one million parts of liquid. |
| --- | --- |
| Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety. (MRDLG means Maximum Residual Disinfectant Level Goal) | Micrograms per liter (ug/l): Corresponds to one part of liquid in one billion parts of liquid. |
| Action Level (AL): The concentration of a contaminant that, if exceeded, triggers treatment or other requirements that a water system must follow. | Nephelometric Turbidity Units (NTU): A measure of water cloudiness. |
| Picocuries per liter (pCi/L): A measure of radioactivity in water. | Not Applicable (N/A) |
| Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water. | Not Detected (ND): The contaminant was not found by the laboratory sample. |

| Contaminants detected by Elmira Water Board | Violation Yes/No | Date of Sample | Level Detected | Units of Measure | MCLG | Regulatory Limit (MCL) | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Barium | no | 6/19/2017 | 0.09 | mg/L | 2 | 2 | Erosion of natural deposits |
| Fluoride | no | In 2017: daily | High .74 Low .61 Average .69 | mg/L | n/a | 2.2 | Water additive which promotes strong teeth |
| Nitrates | no | 6/19/2017 | 1.03 | mg/L | 10 | 10 | Runoff from fertilizer use |
| *Sodium | no | 6/19/2017 | 39 | mg/L | n/a | no designated limits | Naturally occurring; use of road salt |
| *Sodium: Water containing more than 20 mg/L of sodium should not be used for drinking by people on severely restricted sodium diets. Water containing more than 270 mg/L of sodium should not be used for drinking by people on moderately restricted sodium diets. Sodium can make high blood pressure worse. |
| *Turbidity after purification plant | no | In 2017: every 4 hours | 100% of 2,190 results < 0.3 | ntu | n/a | TT=0.3 | Soil runoff |
| *Turbidity is a measure of the cloudiness of the water. We monitor it because it is a good indicator of the effectiveness of our filtration system. |
| Detected contaminants in Village of Wellsburg testing |
| Total Trihalomethane (TTHM) | no | In 2017: 2/14, 5/16, 8/16, 11/15 | Quarterly Samples High 72 Low 36 | Highest *LRAA 58 | ug/L | n/a | *LRAA Quarterly Average 80 | By-product of drinking water chlorination needed to kill harmful organisms; formed when source water contains large amounts of organic matter |
| Haloacetic Acids (HAA) | no | In 2017: 2/14, 5/16, 8/16, 11/15 | Quarterly Samples High 25 Low 11 | Highest *LRAA 19 | ug/L | n/a | *LRAA Quarterly Average 60 |  |
| *LRAA (Locational Running Annual Average): average of last 4 quarters |
| Chlorine | no | In 2017: monthly | High 1.4 Low 0.4 | Average 0.5 | mg/L | MRDLG 4.0 | MRDL 4.0 | Level of disinfectant necessary for control of microbial contaminants |
| Copper | no | 9/2016 | *90th % 0.3 | High .4 Low .1 | mg/L | 1.3 | AL=1.3 | Corrosion of household plumbing systems |
| Lead | no | 9/2016 | *90th % 2.4 | High 2.9 Low ND | ug/L | 0 | AL=15 |  |
| *90th Percentile: Out of 10 samples from homes in the Village of Wellsburg, 90% were less than or equal to the value shown. No samples exceeded the action level (AL) for lead or copper. |
| Special Testing: Every 5 years EPA requires testing for new contaminants to help decide if they should be regulated. The contaminants that were tested for and detected can be found in the table below. The samples were collected at 2 separate sample sites in November 2013, February 2014, May 2014 and August 2014. You may obtain the monitoring results by calling Rose Mary Martino at the Elmira Water Board laboratory (607) 732-2277 extension 3. |
| Analyte | Violation Yes/No | Date of Sample | Level Detected | Units of Measure | MCLG | Regulatory Limit (MCL) | Likely Source of Contamination |
| Strontium | N/A | 8 samples in 2014 | High .10 Low .07 Average .08 | mg/L | N/A | N/A | Naturally occurring element |
| Chromium (total) | N/A | 8 samples in 2014 | High .30 Low 0 Average .24 | ug/L | 100 | 100 | Erosion of natural deposits |
| Chromium-6 (Hexavalent chromium) | N/A | 8 samples in 2014 | High .06 Low .03 Average .04 | ug/L | N/A | N/A | Naturally occurring element |
| Chlorate | N/A | 8 samples in 2014 | High .08 Low 0 Average .01 | mg/L | N/A | N/A | By-product of drinking water chlorination |

What does this information mean?

As you can see by the table, our system had no violations.  We have learned through our testing that some contaminants have been detected; however, these contaminants were detected at levels below those the State allows.

Is our water system meeting other rules that govern operations?

During 2017, we were in compliance with all New York State water supply regulations.

Do I need to take special precautions?

Although our drinking water met or exceeded state and federal regulations, some people may be more vulnerable to disease causing microorganisms or pathogens in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice from their health care provider about their drinking water.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium, Giardia and other microbial pathogens are available from the Safe Drinking Water Hotline (800-426-4791).